Understanding the Synergistic Interaction between a 1,3,4-Thiadiazole Derivative and Amphotericin B Using Spectroscopic and Theoretical Studies

Materials and Methods

Circular dichroism

Measurements of circular dichroism (CD) were taken with a J-710 spectropolarimeter (Jasco), at room temperature, in 1 cm path-length 111-10-40 cuvettes (Hellma). The compounds were dissolved in PBS immediately prior to the measurements. The spectra were collected for the compounds in PBS within the range from 250 to 500 nm, at 1 nm data pitch, 100 nm/min scanning speed, 1 s response time, and 2 nm bandwidth.

DLS Methods

Micelle size was measured at 22 °C with a Zetasizer Nano (Malvern Instruments Ltd., Worcestershire, UK) fitted with a 633nm laser positioned at 173°.

Fig. S1. Panel A – absorption spectra registered for C1, AmB, and the synergistic C1 + AmB system in PBS. Panel B – fluorescence emission spectra corresponding to the absorption spectra presented in Panel A.

Figure S2. Circular dichroism (CD) spectra for: C1, AmB, and the synergistic C1 + AmB composition, in PBS.

Table S1. Particle sizes with standard deviation, shown for AmB, C1 and the synergistic system in PBS buffer, measured with the DLS method.

Figure S3. Absorption spectra registered for C1, AmB, and the synergistic C1 + AmB system in methanol (MetOH).

Figure S4. Fluorescence emission spectra registered for C1, AmB, and the synergistic C1 + AmB system in methanol (MetOH) (corresponding to the absorption spectra presented in Figure S3).

Figure S5. RLS spectra for C1, AmB, and the synergistic C1 + AmB system in methanol (MetOH).

Fig. S6. Fluorescence anisotropy measured in PBS for the synergistic composition of C1+AmB (in both panels), serving as a supplement to Fig. 3 from the main part of the Manuscript. Panels A and B present anisotropy values measured for the C1 to AmB molecular ratios of 4:1 (Panel A) and 8:1 (Panel B), respectively, demonstrating a further decrease in fluorescence anisotropy.